Course Outline

Week I – Fundamentals, Instrumentation and Qualitative Analysis

Topics to be covered in the lectures:

- Properties of X-rays; Origin of X-ray Spectra

- Instrumentation: Wavelength Dispersive (WD) & Energy Dispersive (ED) Spectrometers

- Dispersion of X-rays: WD Spectrometer; Collimator; Analyzing Crystals

- Detection of X-rays: Flow and Scintillation Counters; Si(Li), PIN Diode, Silicon Drift Detectors

- Pulse height Distributions and Pulse Height Selection (and ED equivalent)

- Excitation of X-rays: Characteristic Lines in Tube and Sample; Secondary Targets; Radioisotopes; Polarization

- Scattering of X-rays: Rayleigh and Compton Scattering; Sum Peak

- Matrix Effects: Absorption; Mass Absorption Coefficients

- Matrix Effects: Enhancement; Particle Size; Chemical and Mineralogical effects; Surface Effects and Infinite Thickness

- Introduction to Quantitative XRF Analysis: Basic Counting Statistics; Figure of Merits; Calibration and Corrections for Inter-element Matrix Effects.

- Selection of Instrumental Variables

plus Sample Preparation Workshop -

- Sampling and Sample Preparation (in general)

- Pressed Powder Briquettes

- Sample Preparation for Metals and Liquids

- Borate Fusion Technique

Topics to be covered in the laboratory exercises:

- Introduction to the WDXRF spectrometer

- Introduction to the EDXRF spectrometer

- Qualitative Analysis: Interpretation of Wavelength / Energy Scans

- Setting Detector Voltages; Determine Detector Resolution; Setting Pulse Height Selector

- Determination of Mass Absorption Coefficients by Transmission, Calculation from Major Element Composition and by Compton Peak Measurements

- Introduction to Quantitative XRF Analysis: Evaluation and Applications of Influence (alpha) Coefficients; Application of Mass Absorption Coefficients

Week II - Quantitative Analysis and Data Reduction Methods

Topics to be covered in the lectures:

- Introduction to Quantitative Analysis:

- Choice of Counting Positions 
- Determination of Background Intensity

- Peak Deconvolution (EDXRF)
- Correction for Spectral Line Interferences 
- X-ray Tube Line Interference Corrections
- Standards and Standardization 
- Crystal fluorescence problems and their solutions

- Introduction to Influence Coefficients

- Mathematical Matrix Correction Techniques

- Semi-quantitative to Standardless Quantification Methods

- Quality Control and Monitors

- Summary of Advantage and Disadvantages of XRF

plus Layered Sample and Thin Film Analysis Workshop -

- Mathematical Derivation of Fundamental Parameter Method

- Fundamental Parameter Method for Solid Sample Analysis

- Fundamental Parameter Model for Thin Film Analysis

- Fundamental Parameter Model for Layered Sample Analysis

- Total Reflection XRF and Thin Film Analysis

- Applications

Topics to be covered in laboratory exercises:

- Major and Trace Element Data Reduction: 
- Methods of Background Determination
- Correction for Peak-on-Peak and Peak-on-Background Spectral Interferences 
- Determining of and Correction for X-ray Tube Line Interferences 
- Iterative Cross-tail Corrections Procedures 
- Standardization 
- Calculation of Concentration, Counting Error and Lower Limit of Detection

- Applications of Mass Absorption Coefficients; Absorption Edge Problems; Techniques for Crossing Major Element Absorption Edges

- Calculations for Influence Coefficients; Application of Different Algorithms Correcting for Matrix Effects